## Full List
Category | Part Numbers | Description | Qty. | Unit Cost | Subtotal
Drives & Motion Control | 6SL3210-5HB10-4UF0 | DRIVE (400W) | 498 | 468.3025 | 233214.645
Drives & Motion Control | 6SL3210-5HE10-8UF0 | APPEARANCE INSPECTION | 306 | 523.4887 | 160187.5382
Drives & Motion Control | 1FK2103-4AG11-1MA0 | SERVO MOTOR 0.4 kW | 221 | 674.4887 | 149062.0015
Drives & Motion Control | 1FK2103-4AG01-1MA0 | SERVO MOTOR 0.4 kW | 236 | 568.7425 | 134223.22
HMI Equipment | 6AV7264-3TS40-0AA0 | 15INCH HMI | 29 | 3716.8495 | 107788.6346
Drives & Motion Control | 1FK2104-5AF01-1MA0 | SERVO MOTOR 0.75 kW | 159 | 612.8532 | 97443.666
Electrical Distribution & Protection | 6ES7518-4UP00-0AB0 | 1518TF-4 PN/DP CPU | 14 | 6878.6997 | 96301.7962
Electrical Distribution & Protection | 6ES7131-6BH01-0BA0 | ET 200SP, DI 16x 24V DC ST, PU 1 | 1375 | 64.7996 | 89099.4823
Drives & Motion Control | 6SL3210-5HB10-1UF0 | DRIVE (100W) | 202 | 434.473 | 87763.546
HMI Equipment | 6AV7241-1JB05-0DA0 | TOUCH | 15 | 5439.1878 | 81587.8174
HMI Equipment | 6AV7264-3TS42-0AA0 -> 6AV7264-3TS40-0AA0 | SIMATIC IPC477E 15"; multi-touch | 21 | 3693.581 | 77565.201
Drives & Motion Control | 6SL3210-1KE12-3AF2 | SINAMICS G120C RATED POWER 0.75kW 3AC380-480V | 152 | 497.2974 | 75589.2117
Drives & Motion Control | 1FK2104-5AF11-1MA0 | SERVO MOTOR 0.75 kW | 104 | 717.7908 | 74650.24
Electrical Distribution & Protection | 6ES7515-2UM01-0AB0 | CPU 1515TF-2 PN, 750KB progr, 3MB data | 22 | 3052.728 | 67160.017
Drives & Motion Control | 1FK2102-1AG01-1MA0 | SERVO MOTOR 0.1 kW | 130 | 490.5154 | 63767.002
Networking & Communication | 6GK1901-1BB10-2AE0 | Profinet Cable Connector | 121 | 509.9814 | 61707.7458
Drives & Motion Control | 6SL3210-5HB10-2UF0 | SERVO DRIVE | 137 | 444.0205 | 60830.8085
Drives & Motion Control | 6SL3210-5HE11-0UF0 | SERVO DRIVE | 100 | 560.2585 | 56025.8452
Electrical Distribution & Protection | 3RV2742-5AD10 | MCCB UL489 3P 10A | 437 | 127.7819 | 55840.7076
Electrical Distribution & Protection | 6ES7136-6DC00-0CA0 | APPEARANCE INSPECTION | 244 | 220.9893 | 53921.3787
Drives & Motion Control | 1FT7108-5AC71-1CA1 | SERVO MOTOR (10.5kw) | 12 | 4358.6475 | 52303.77
Drives & Motion Control | 1FK2104-6AF01-1MA0 | Servo Motor (1.0KW, AC480V) | 80 | 632.957 | 50636.558
Drives & Motion Control | 6SL3210-5HE12-0UF0 | SERVO DRIVE | 69 | 731.937 | 50503.653
Electrical Distribution & Protection | 6ES7155-6AU01-0CN0 | ET 200SP IM155-6PN/2 HF | 237 | 200.8106 | 47592.1161
Networking & Communication | 6GK7543-1AX00-0XE0 | APPEARANCE INSPECTION | 38 | 1251.2438 | 47547.2637
Drives & Motion Control | 1FK2105-6AF01-1MA0 | SERVO MOTOR 2.1 kW | 58 | 813.3219 | 47172.668
Motion Control Connectivity | 6FX8002-8QN04-1BF0 | Siemens Cable | 244 | 177.6022 | 43334.9395
Networking & Communication | 6GK5216-0BA00-2AC2 | SCALANCE XC216 | 46 | 912.8993 | 41993.3695
Drives & Motion Control | 1FK2103-2AG11-1MA0 | SERVO MOTOR 0.2 kW | 66 | 621.5181 | 41020.1925
RFID Equipment | 6GT2831-6AA50 | SIMATIC RF-1060R | 84 | 464.3078 | 39001.8512
Drives & Motion Control | 6SL3210-5HE10-4UF0 | SINAMICS S210, 3AC 400V, 0.4kW | 73 | 485.017 | 35406.2389
Drives & Motion Control | 1FK2103-2AG01-1MA0 | SERVO MOTOR 0.2 kW | 67 | 516.7111 | 34619.6435
Electrical Distribution & Protection | 3RV2711-1ED10 | MCCB UL489 3P 4A | 550 | 62.8537 | 34569.5099
Motion Control Connectivity | 6FX8002-8QN04-1BA0 | Siemens Cable | 242 | 140.4896 | 33998.4896
Drives & Motion Control | 1FK2102-1AG11-1MA0 | SERVO MOTOR 0.1 kW | 56 | 578.2192 | 32380.275
Electrical Distribution & Protection | 6ES7132-6BH01-0BA0 | ET 200SP, DQ 16x 24V DC/0,5A ST, PU 1 | 359 | 87.0784 | 31261.1526
Electrical Distribution & Protection | 6ES7132-6BH00-0AA0 | APPEARANCE INSPECTION | 476 | 65.3007 | 31083.1285
Networking & Communication | 6GK7542-1AX00-0XE0 | Communications module CM 1542-1 | 36 | 856.1365 | 30820.9144
Drives & Motion Control | 1FG1511..F422... | SIMOTICS S-1FG1 servo gearedmotor Bevel gearbox K109 Motor Type | 5 | 6059.6452 | 30298.2261
Electrical Distribution & Protection | 6ES7137-6AA00-0BA0 | ET 200SP, CM PTP (RS-232C, RS 422/485) | 142 | 211.9216 | 30092.865
Motion Control Connectivity | 6FX8002-8QN04-1AF0 | Siemens Cable | 267 | 103.1992 | 27554.1784
Electrical Distribution & Protection | 3RV2711-1HD10 | MCCB UL489 3P 8A | 444 | 61.1863 | 27166.7225
Electrical Distribution & Protection | 6ES7136-6BA01-0CA0 | Digital input module F-DI 8x24VDC HF | 165 | 162.5101 | 26814.1729
Electrical Distribution & Protection | 6ES7553-1AA00-0AB0 | TM PTO4 | 60 | 438.8145 | 26328.87
Drives & Motion Control | 6SL3210-1KE13-2UF2 | INVERTER (1KW, AC480V) | 81 | 315.125 | 25525.1233
Electrical Distribution & Protection | 6ES7193-6BP00-0BA0 | BaseUnit Type A0, BU15-P16+A0+2B (without power) | 2133 | 11.4788 | 24484.2148
Drives & Motion Control | 1FK2104-6AF11-1MA0 | SERVO MOTOR 1 kW | 32 | 743.644 | 23796.607
Motion Control Connectivity | 6FX8002-8QN08-1BF0 | Siemens Cable | 120 | 197.1924 | 23663.0838
Electrical Distribution & Protection | 3VA5120-6ED31-0AA0 | MCCB | 119 | 184.2271 | 21923.0236
Drives & Motion Control | 6SL3244-0BB13-1FA0 | SINAMICS G120 CU240E-2 PN-F Control Unit E-type Safety Integrated | 80 | 269.705 | 21576.4
Networking & Communication | 6GK1901-1BB10-2AA0 | RJ45 Plug for Profinet | 750 | 26.885 | 20163.75
Electrical Distribution & Protection | 6ES7193-6BP00-0DA0 | BaseUnit Type A0, BU15-P16+A0+2D (with power) | 967 | 20.4532 | 19778.235
HMI Equipment | 6AV7674-1LA43-0AA0 | 15INCH HMI Extension Unit | 46 | 420.6836 | 19351.4477
Drives & Motion Control | 6SL3120-2TE21-8AD0 | DUBBLE MOTOR MODULE(~9,7KW) | 7 | 2695.4009 | 18867.8064
Electrical Distribution & Protection | 6ES7551-1AB00-0AB0 | TM Posinput 2 | 56 | 335.616 | 18794.496
Motion Control Connectivity | 6FX8002-8QN08-1BA0 | Siemens Cable | 116 | 154.3651 | 17906.3568
Drives & Motion Control | 1FK2105-6AF11-1MA0 | SERVO MOTOR 2.1 kW | 19 | 933.905 | 17744.195
Drives & Motion Control | 1FG1508-9RF33-2AK1-Z D24+H1G+K06 | SIMOTICS S-1FG1 servo gearedmotor Bevel gearbox K79 Motor Type | 3 | 5640.3235 | 16920.9704
Drives & Motion Control | 6SL3210-5HE11-5UF0 | DRIVE (1.45KW) | 26 | 643.7147 | 16736.5829
Electrical Distribution & Protection | 6ES7134-6HB00-0CA1 | ET 200SP AI 2XU/I 2/4-Wire HF | 98 | 160.5467 | 15733.5762
Electrical Distribution & Protection | 6ES7954-8LP03-0AA0 | MEMORY CARD 2GB | 39 | 403.0709 | 15719.7655
Drives & Motion Control | 6SL3210-5HE11-0UF0 | SINAMICS S210, 3AC 400V, 1.0kW | 29 | 539.334 | 15640.686
Motion Control Connectivity | 6FX8002-8QN08-1AF0 | Siemens Cable | 139 | 111.8714 | 15550.1203
Drives & Motion Control | 1FK2103-2AG10-0MA0 | 200W SERVO MOTOR (with Brake, without | 25 | 601.0938 | 15027.3462
Drives & Motion Control | 6SL3210-1PE23-3AL0 | Drive (10.5kw) / PM240-2 | 12 | 1225.386 | 14704.632
Drives & Motion Control | 6SL3210-1KE11-8UF2 | SINAMICS G120C RATED POWER 0.55KW 3AC380-480V | 50 | 293.897 | 14694.8478
Networking & Communication | 6GK5205-3BF00-2AB2 | SCALANCE XB205-3LD | 18 | 803.6108 | 14464.9941
Drives & Motion Control | 6SL3210-1PB13- 0AL0 (PM240-2) | AMP | 80 | 180.386 | 14430.88
Drives & Motion Control | 1FG1510..G032... 1FG1510..G032... 1FG1510..G032... 1FG1510..G032... | SIMOTICS S-1FG1 servo gearedmotor Bevel gearbox K89 Motor Type | 2 | 6813.2348 | 13626.4696
Electrical Distribution & Protection | 6EP1436-2BA10 (20A) | SMPS | 41 | 328.9148 | 13485.5061
Drives & Motion Control | 6SL3054-4FB10-2BA0-Z F01 | SINAMICS SD CARD 512 MB, with FW 5.2 SP1 including Extended Safety License | 80 | 168.245 | 13459.6
Electrical Distribution & Protection | 6ES7136-6BA00-0CA0 | APPEARANCE INSPECTION | 81 | 163.5765 | 13249.6956
Electrical Distribution & Protection | 6ES7155-6AA01-0BN0 | ET 200SP IM155-6PN ST BA 2xRJ45 | 41 | 316.7352 | 12986.1415
Electrical Distribution & Protection | 6ES7135-6HD00-0BA1 | ET 200SP, AQ 4 X U/I ST | 81 | 151.7709 | 12293.4412
Electrical Distribution & Protection | 3RV2742-5BD10 | MCCB UL489 3P 15A | 84 | 145.5983 | 12230.2583
Drives & Motion Control | 6SL3255-0AA00-4CA1 | BOP-2 Basic Operator Panel | 341 | 35.5297 | 12115.6129
Drives & Motion Control | 1FK2103-4AG00-0MA0 | Synchronous motor 1FK2-HD 1.27 Nm (0.4kW-3000rpm/200-240V) | 22 | 534.2783 | 11754.1236
Electrical Distribution & Protection | 7KM3220-1BA01-1EA0 | Power meter | 23 | 498.3022 | 11460.9499
Electrical Distribution & Protection | 6ES7141-6BG00-0AB0 | ET200eco PN,8DI, DC24V, 8*M12 | 50 | 227.924 | 11396.2
Drives & Motion Control | 1FK2103-2AG00-0MA0 | 200W SERVO MOTOR (without key) | 22 | 497.7905 | 10951.3902
HMI Equipment | 6AV2125-2GB03-0AX0 | SIMATIC HMI KTP700 Mobile | 9 | 1201.907 | 10817.1626
HMI Equipment | 6AV2125-2AE13-0AX0 | SIMATIC HMI Connection Box Standard | 54 | 188.6204 | 10185.5035
Networking & Communication | 6GK5208-0BA00-2AC2 | SCALANCE XC208 | 16 | 634.3176 | 10149.0808
Drives & Motion Control | 6SL3210-5HE15-0UF0 | SERVO DRIVE (2.3KW) | 8 | 1201.3289 | 9610.6312
Drives & Motion Control | 6SL3260-2DC00-0AA0 | APPEARANCE INSPECTION | 271 | 34.9147 | 9461.886
Drives & Motion Control | 1FG1201..D434... | SIMOTICS S-1FG1 servo gearedmotor Helical gearbox D19 Motor Type | 5 | 1877.8278 | 9389.1391
Drives & Motion Control | 1FK2104-5AK00-0MA0 | Synchronous motor 1FK2-HD 2.39 Nm (0.75kW-3000rpm/200-240V) | 16 | 577.2663 | 9236.2602
Drives & Motion Control | 1FK2104-6AF11-1MA0 | Servo Motor (1.0KW, AC480V, Brake) | 13 | 710.0965 | 9231.2545
Electrical Distribution & Protection | 6EP3334-8SB00-0AY0 | SITOP PSU8200/1AC/24VDC/10A | 53 | 173.9711 | 9220.4687
Electrical Distribution & Protection | 6ES7526-2BF00-0AB0 | OUTPUT CARD F-DQ 8x 24 V DC 2A PPM PROFIsafe | 18 | 509.0348 | 9162.6261
Electrical Distribution & Protection | 6ES7526-1BH00-0AB0 | INPUT CARD F-DI 16x 24 V DC PROFIsafe | 21 | 435.1102 | 9137.3148
Electrical Distribution & Protection | 6ES7135-6HB00-0CA1 | ET 200SP AQ 2XU/I HF | 54 | 160.5467 | 8669.5216
HMI Equipment | 6AV2125-2GB23-0AX0 | SIMATIC HMI KTP700F Mobile, 7.0" TFT display | 4 | 2146.8678 | 8587.4713
Drives & Motion Control | 6ES7660-8....-.... | SIMATIC IPC547J (Rack PC, 19", 4U) | 2 | 4178.423 | 8356.846
Drives & Motion Control | GXK:BWG250047TS-190 | GXK:BWG250047TS-190 | 57 | 145.9096 | 8316.8452
Electrical Distribution & Protection | 6EP1437-2BA20 | SITOP PSU300S/3AC/24VDC/40A | 24 | 338.9336 | 8134.4056
Drives & Motion Control | 6SL3244-0BB13-1FA0 | SINAMICS G120 CU240E-2 PN-F Control Unit E-type Safety Integrated | 30 | 269.705 | 8091.15
Electrical Distribution & Protection | 6ES7155-6AU00-0DN0 | ET 200SP, IM155-6PN HS | 30 | 264.347 | 7930.41
Drives & Motion Control | 6SL3040-1LA01-0AA0 | APPEARANCE INSPECTION | 13 | 607.1423 | 7892.8495
Electrical Distribution & Protection | 7KM9300-0AE02-0AA0 | expansion module switched Ethernet PROFINET V3 | 24 | 322.6503 | 7743.6078
HMI Equipment | 6AV7674-1LB10-0AA0 | Handle | 34 | 223.8545 | 7611.0529
Drives & Motion Control | 1FK2102-1AG10-0MA0 | Synchronous motor 1FK2-HD 0.32 Nm (0.1kW-3000rpm/200-240V) | 14 | 543.0514 | 7602.7195
Drives & Motion Control | 6SL3130-6TE21-6AA4 | SINAMICS S120 SMART LINE MODULE | 5 | 1499.2487 | 7496.2435
HMI Equipment | 6AV7264-3TS42-0AA0 -> 6AV7264-3TS40-0AA | SIMATIC IPC477E 15"; multi-touch | 2 | 3693.581 | 7387.162
Drives & Motion Control | 1FK2206-4AF00-0MA0 | SERVO MOTOR 2.85 Kw | 8 | 889.77 | 7118.16
Communication & Fieldbus Cables | 6XV1840-2AH10 | PROFINET Standard CABLE | 3310 | 2.1425 | 7091.7343
Electrical Distribution & Protection | 5ST3010 | Auxiliary switch 1NO+1NC | 854 | 7.8993 | 6746.0345
Drives & Motion Control | 6SL3210-1KE12-3UF2 | INVERTER (750W, AC480V) | 22 | 292.6475 | 6438.245
Electrical Distribution & Protection | 6ES7193-6AR00-0AA0 | BUSADAPTER BA 2xRJ45 | 160 | 39.4765 | 6316.2349
Drives & Motion Control | 6SL3040-1MA01-0AA0 | CU320-2 PN | 9 | 674.9337 | 6074.4035
Drives & Motion Control | 6SL3120-2TE13-0AD0 | DOUBLE MOTOR MODULE 3A/3A | 6 | 997.7886 | 5986.7317
Electrical Distribution & Protection | 7KM3220-0BA01-1DA0 | Sentorn PAC 3220 | 13 | 459.7075 | 5976.1972
Drives & Motion Control | 6SL3210-5HE17-0UF0 | Drive (7kw) | 4 | 1484.679 | 5938.716
Drives & Motion Control | 1FK2102-1AG00-0MA0 | SERVO MOTOR 0.1 kW | 13 | 454.247 | 5905.2116
Drives & Motion Control | 6SL3054-0FC30-1BA0-Z U03 | SINAMICS S120 CompactFlash card | 5 | 1161.0157 | 5805.0783
Drives & Motion Control | 6SL3210-1PB13-0AL0 | AMP | 32 | 180.386 | 5772.352
Drives & Motion Control | 1FN3150-4SA00-0AA0 | Secondary section linear motor | 27 | 210.553 | 5684.9322
Electrical Distribution & Protection | 3RF2310-1AA45 | SSR | 84 | 66.2544 | 5565.366
Drives & Motion Control | 1FK2210-3AC01-1MA0 | SERVO MOTOR (5.5kw) | 4 | 1371.9425 | 5487.77
Motion Control Connectivity | 6FX5002-8QN04-1CA0 | ONE CABLE CONNECTION ASSEMBLY 20M-M12 500PLUS | 33 | 164.0559 | 5413.8451
Drives & Motion Control | 1FK2105-6AF10-0MA0 | SERVO MOTOR 2.1 kW | 6 | 899.308 | 5395.848
Drives & Motion Control | 1FK2105-6AF10-1MA0 | SERVO MOTOR 2.1 kW | 6 | 899.308 | 5395.848
Drives & Motion Control | 1FK2102-1AG00-1MA0 | SERVO MOTOR (0.1KW) | 11 | 473.4196 | 5207.6158
Drives & Motion Control | 6SL3120-1TE13-0AD0 | SINGLE MOTOR MODULE 3A | 6 | 860.0891 | 5160.5344
Drives & Motion Control | 1FK2203-4AG10-0MA0 | SERVO MOTOR (0.4KW) | 8 | 637.4025 | 5099.22
Drives & Motion Control | 1FK2203-4AG10-1MA0 | SERVO MOTOR 0.4 kW | 8 | 637.4025 | 5099.22
Drives & Motion Control | 6SL3054-4FB10- 2BA0-Z F01 | SINAMICS SD CARD 512 MB, with FW 5.2 SP1 including Extended Safety License | 30 | 168.245 | 5047.35
Drives & Motion Control | 6SL3210-1PE12-3AL1 | Power Module | 23 | 217.6735 | 5006.4905
Electrical Distribution & Protection | 6ES7541-1AB00-0AB0 | S7-1500, CM PTP RS422/485 HF | 8 | 622.0088 | 4976.0703
HMI Equipment | 6AV7264-3TS42-0AA0 | TOUCH 15 inch | 1 | 4963.5156 | 4963.5156
Electrical Distribution & Protection | 3VA5195-6ED31-0AA0 | MCCB UL489 3P 15A | 32 | 152.2139 | 4870.845
Electrical Distribution & Protection | 3SU1051-1HB20-0AA0 | EMG 1NC | 139 | 34.6831 | 4820.9567
Electrical Distribution & Protection | 3VA9131-0WD30 | MCCB 150 Flange | 499 | 9.5649 | 4772.8727
Drives & Motion Control | 1FK2105-6AF00-0MA0 | SERVO MOTOR (2.1KW) | 6 | 777.0335 | 4662.201
Electrical Distribution & Protection | 3RV2711-1DD10 | MB | 63 | 72.6868 | 4579.266
Electrical Distribution & Protection | 6EP7133-6AB00-0BN0 | ET 200SP PS 1AC 24VDC 5A | 42 | 107.9084 | 4532.1543
Electrical Distribution & Protection | 6EP1336-3BA10 | input: 120-230 V AC 110-220 V DC output: 24 V DC/20 A | 17 | 266.1312 | 4524.2299
Drives & Motion Control | 1FK2103-4AG01-0MA0 | SERVO MOTOR (400W) | 8 | 564.3428 | 4514.742
Drives & Motion Control | 6SL3244-0BB12-1FA0 | TRAY INSPECTION | 23 | 196.2245 | 4513.1636
Electrical Distribution & Protection | 6ES7823-0AA00-1DA0 | ProDiag for PLC | 9 | 498.1369 | 4483.2324
Electrical Distribution & Protection | 3VA9138-0DK72 | MAIN Circuit breaker 150 Flange | 27 | 165.92 | 4479.8407
Electrical Distribution & Protection | 6ES7137-6BD00-0BA0 | Communication module | 17 | 253.1465 | 4303.4905
Drives & Motion Control | 1FK2105-4AF01-1MA0 | SERVO MOTOR (1.45KW) | 6 | 700.7105 | 4204.263
Drives & Motion Control | 1FT7068-5AF70-1CB0 | SERVO MOTOR(3.42 KW,480V) | 1 | 4038.5681 | 4038.5681
Electrical Distribution & Protection | 6ES7193-6AR00-0AA0 (BA 2xRJ45) | BUS Adapter(ET200SP) | 83 | 48.6172 | 4035.2295
Drives & Motion Control | SGD7S-120A00A002 | Yaskawa Sigma-7 Series SERVOPACK | 8 | 500.384 | 4003.072
Electrical Distribution & Protection | 6ES7193-6BP20-0DA0 | BaseUnit Type A0, BU15-P16+A10+2D | 174 | 22.8099 | 3968.9249
Electrical Distribution & Protection | 3VA5150-6ED31-0AA0 | MCCB | 23 | 170.2773 | 3916.3779
Drives & Motion Control | 6SL3210-5HE13-5UF0 | INVERTER 3.5 kW | 4 | 966.0835 | 3864.334
Electrical Distribution & Protection | 6ES7141-6BH00-0AB0 | ET200eco PN,16DI, DC24V, 8*M12 | 15 | 255.6735 | 3835.1025
Drives & Motion Control | 6SL3210-1KE11-8AF2 | INVERTER (0.55kW WITH FILTER) | 9 | 413.0527 | 3717.4747
Electrical Distribution & Protection | 3VA5180-6ED31-0AA0 | MCCB | 20 | 184.5355 | 3690.7103
Electrical Distribution & Protection | 8WD4420-5AB | Continuous light element, with integrated LED, red, 24 V AC/DC, Diameter 70 mm | 31 | 116.4783 | 3610.8261
Electrical Distribution & Protection | 8WD4420-5AC | Continuous light element, with integrated LED, green, 24 V AC/DC, Diameter 70 mm | 31 | 116.4783 | 3610.8261
Electrical Distribution & Protection | 8WD4420-0FA | Buzzer element, continuous tone or pulsating, adjustable, 85 dB, black, 24 V AC/DC, diameter 70 mm | 31 | 115.9826 | 3595.4609
Electrical Distribution & Protection | 6ES7138-6AA01-0BA0 | TM Count 1x24V | 26 | 137.8925 | 3585.205
PLC Equipment | 6DL1193-6PA00-0AA0 | ET 200SP HA spare part Server module for ET 200SP HA | 74 | 48.2517 | 3570.6287
Drives & Motion Control | 1FK2206-2AF11-1MA0 | SERVO MOTOR (0.97kw) | 4 | 882.8255 | 3531.302
Electrical Distribution & Protection | 6ES7136-6DB00-0CA0 | Digital output module F-DQ 4x24VDC/2A PM HF | 20 | 174.23 | 3484.6
HMI Equipment | 6AV2181-5AG80-0AX0 | Mobile Panels wall bracket, type 13 | 53 | 64.9205 | 3440.7877
Electrical Distribution & Protection | 6ES7193-6BP20-0BA0 | BaseUnit Type A0, BU15-P16+A10+2B | 226 | 14.9142 | 3370.6033
Drives & Motion Control | 6SL3130-6TE25-5AA3 | SMART LINE MODULE 55KW | 1 | 3369.1892 | 3369.1892
Drives & Motion Control | 1FK2104-5AF00-1MA0 | SERVO MOTOR | 5 | 666.7513 | 3333.7565
Electrical Distribution & Protection | 6ES7592-1AM00-0XB0 | APPEARANCE INSPECTION | 135 | 24.6629 | 3329.4981
Drives & Motion Control | 1FK7022-5AK71-1LB3 | SERVO MOTOR(0.38 KW,480V) | 2 | 1661.6746 | 3323.3492
Electrical Distribution & Protection | 3RV2742-5FD10 | MCCB UL489 3P 35A | 22 | 147.858 | 3252.876
Drives & Motion Control | 1FK2203-4AG00-0MA0 | SERVO MOTOR 0.4 kW | 6 | 532.475 | 3194.85
Drives & Motion Control | 1FK7044-4CF71-1CA0 | SERVO MOTOR(1.16 KW,480V) | 2 | 1595.8118 | 3191.6235
Electrical Distribution & Protection | 6ES7823-0BA00-1DA0 | SIMATIC OPC UA S7-1500 Large, | 13 | 242.9324 | 3158.1206
Drives & Motion Control | 6SL3120-1TE24-5AC0 | SINGLE MOTOR MODULE 45A | 1 | 3145.835 | 3145.835
Electrical Distribution & Protection | 3VA5140-6ED31-0AA0 | MCCB | 20 | 155.7521 | 3115.0413
Electrical Distribution & Protection | 6ES7822-1AE07-0YA5 | SIMATIC STEP 7 Prof. V17 DL | 2 | 1547.1985 | 3094.397
Electrical Distribution & Protection | 6EP1434-2BA20 (10A) | SITOP PSU300S 24 V/10 A stabilized power supply | 11 | 280.6383 | 3087.0209
Electrical Distribution & Protection | 3RV2711-1JD10 | MCCB UL489 3P 10A | 42 | 72.8248 | 3058.6398
Electrical Distribution & Protection | 5SJ4206-7HG41 | MCB UL489 2P 6A | 54 | 56.234 | 3036.6352
Electrical Distribution & Protection | 3SU1401-1BB20-1AA0 | SWITCH (EMS) LAMP | 299 | 10.1103 | 3022.9855
Electrical Distribution & Protection | 6ES7134-6HD01-0BA1 -> 6ES7134-6GD01-0BA1 | AI 4XU/I 2-WIRE ST , PU1 | 25 | 120.5455 | 3013.6375
Electrical Distribution & Protection | 3VA9137-0FK21 | door mounted rotary operator standard IEC IP65 with door interlock accessory for: 3VA51 | 36 | 83.567 | 3008.4104
Electrical Distribution & Protection | 3VA5215-6ED31-0AA | MCCB | 6 | 500.821 | 3004.926
Drives & Motion Control | 1FK2104-5AF10-1MA0 | SERVO MOTOR (0.75KW) | 4 | 735.6042 | 2942.4168
Electrical Distribution & Protection | 5SJ4202-7HG41 | CP | 53 | 54.7453 | 2901.4987
Drives & Motion Control | 1PH8133-1DD00-1BA1 | 1PH8; Asynchronous; 15.00 kW; Shaft height 132 mm | 1 | 2883.6263 | 2883.6263
Electrical Distribution & Protection | 3VA9133-0QA00 | MCCB UL489 3P | 233 | 12.2895 | 2863.4437
Electrical Distribution & Protection | 3RV2711-1FD10 | MB | 37 | 76.4783 | 2829.6981
Drives & Motion Control | 1FK2104-4AF00-1SB0 | SERVO MOTOR(0.40 KW,480V) | 5 | 564.6616 | 2823.3078
Electrical Distribution & Protection | 6EP1333-4BA00 | APPEARANCE INSPECTION | 20 | 140.648 | 2812.9608
Electrical Distribution & Protection | 6ES7155-6AU01-0BN0 | ET 200SP, IM155-6PN STANDARD | 14 | 198.5498 | 2779.6969
Communication & Fieldbus Cables | 6XV1870-2D | PROFINET Motion CABLE | 500 | 5.548 | 2774
Electrical Distribution & Protection | 3RV2742-5ED10 | MB | 19 | 144.1437 | 2738.731
Drives & Motion Control | 1FK2104-4AF10-1MB0 | SERVO MOTOR(0.40 KW,480V) BRAKE | 3 | 897.5127 | 2692.538
Electrical Distribution & Protection | 3RV2901-2E | AUXILIARY SWITCH | 550 | 4.6852 | 2576.8328
Drives & Motion Control | 1FK2104-4AF11-1MA0 | 400W BR | 4 | 643.5585 | 2574.234
Drives & Motion Control | 1FK2103-4AG10-0MA0 | Synchronous motor 1FK2-HD 1.27 Nm (0.4kW-3000rpm/200-240V) | 4 | 638.9408 | 2555.763
Electrical Distribution & Protection | 6ES7137-6AA00-0BA0 -> 6ES7137-6AA01-0BA0 | M21K-P01RV-4-P021 | 12 | 212.4675 | 2549.61
Electrical Distribution & Protection | 5SY4104-7 | MCB UL1077 1P 4A | 217 | 11.5091 | 2497.4831
Drives & Motion Control | 6SL3255-0AA00-4CA1 (BOP) | OP PANEL | 80 | 31.217 | 2497.36
Electrical Distribution & Protection | 3RV2811-1AD10 | Circuit Breaker | 27 | 91.1082 | 2459.9217
Electrical Distribution & Protection | 3VA9133-0QA00 / 150 프레임 | MCCB Terminal lug | 220 | 10.925 | 2403.5
Electrical Distribution & Protection | 8WD4420-5AF | Continuous light element, with integrated LED, blue, 24 V AC/DC, Diameter 70 mm | 19 | 124.2104 | 2359.9983
Electrical Distribution & Protection | 6ES7134-6HD01-2BA1 | ET 200SP, AI 4xU/I 2-Wire ST, PU 10 | 20 | 116.204 | 2324.08
Electrical Distribution & Protection | 3VA5130-6ED31-0AA0 | MCCB | 15 | 154.8025 | 2322.0375
Electrical Distribution & Protection | 6ES7132-6BF01-0BA0 | ET 200SP DQ 8x 24VDC 0.5A | 49 | 46.4971 | 2278.3594
Electrical Distribution & Protection | 9PX3000 IRT3U | UPS | 2 | 1136.0581 | 2272.1162
HMI Equipment | 6AV7674-1KF00-0AA0 | APPEARANCE INSPECTION | 33 | 68.2087 | 2250.8861
Drives & Motion Control | 1FK2104-4AF00-1MB0 | SERVO MOTOR(0.40 KW,480V) | 3 | 749.4408 | 2248.3223
Electrical Distribution & Protection | 3RT1055-6SF36 | MC | 9 | 248.634 | 2237.706
Electrical Distribution & Protection | 6ES7521-1BL10-0AA0 | 1500. 32DI | 8 | 277.4475 | 2219.58
Electrical Distribution & Protection | 8WD4420-5AD | Continuous light element, with integrated LED, yellow, 24 V AC/DC, Diameter 70 mm | 19 | 116.4783 | 2213.087
Drives & Motion Control | 6SL3055-0AA00-5CA2 | SMC30 | 10 | 213.9079 | 2139.0786
Electrical Distribution & Protection | 8WD4408-0AA | Connection element, with end cover, black, for pipe mounting, with screw terminal, | 31 | 68.7965 | 2132.6922
Drives & Motion Control | 1FK2203-4AG00-1MA0 | SERVO MOTOR 0.4 kW | 4 | 532.475 | 2129.9
Electrical Distribution & Protection | 5SJ4204-7HG41 | CP | 40 | 53.1089 | 2124.3578
Electrical Distribution & Protection | 3RT2036-1KB40 | Contactor 51A | 18 | 117.609 | 2116.9627
Electrical Distribution & Protection | 6ES7515-2FM02-0AB0 | SIMATIC S7-1500F, CPU 1515F-2 PN | 1 | 2104.1426 | 2104.1426
Electrical Distribution & Protection | 3RT2026-1BB40 | MC | 45 | 46.7223 | 2102.5037
Electrical Distribution & Protection | 3SU1550-0AA10-0AA0 | EMG 1NC | 458 | 4.4284 | 2028.2187
HMI Equipment | 6AU1810-1BA54-3XA0 | TIA PORTAL_SCOUT V5.4 | 1 | 2017.8 | 2017.8
Drives & Motion Control | 1FK2103-4AG11-0MA0 | SERVO MOTOR (400W) | 3 | 670.0698 | 2010.2095
Drives & Motion Control | 1FK2106-6AF00-0MA0 | Synchronous motor 1FK2-HD 16 Nm (3.3kW-3000rpm/380-480V) | 2 | 993.1085 | 1986.217
Electrical Distribution & Protection | 6ES5710-8MA11 | Stand.sectional Rail 35mm, Length 483mm | 86 | 22.8099 | 1961.6525
Electrical Distribution & Protection | 6EP1334-2BA20 | SITOP PSU100S 1AC 24VDC 10A | 11 | 176.1738 | 1937.9118
Electrical Distribution & Protection | 3NW7523-0HG | FUSE Holder | 27 | 71.4088 | 1928.0386
Electrical Distribution & Protection | 3VA51 Luge | Conveyor | 130 | 14.8276 | 1927.5913
Drives & Motion Control | 1FK2103-2AG00-1MA0 | SERVO MOTOR (0.2KW) | 4 | 480.4435 | 1921.774
Electrical Distribution & Protection | 3RV2711-1CD10 | MB | 31 | 61.6442 | 1910.9704
Electrical Distribution & Protection | 3VA9278-0DK72 | MCCB UL489 3P | 12 | 157.8728 | 1894.4735
Electrical Distribution & Protection | 8WD4308-0DA | Pipe With Foot | 31 | 60.9652 | 1889.9217
Electrical Distribution & Protection | 3VA5195-6ED31-0AA0+3VA9979-0AA12 | circuit breaker 3VA5 UL Frame 125 breaking capacity class H 65 | 11 | 171.7125 | 1888.8375
Electrical Distribution & Protection | 3VA5215-6ED31-0AA0 | MCCB UL489 3P 150A | 4 | 463.5715 | 1854.286
Networking & Communication | 6GK1901-1GA00 | Industrial Ethernet FastConnect strippingtool, Stripping tool for fast stripping of theIE | 32 | 56.174 | 1797.5664
Electrical Distribution & Protection | 6ES7137-6AA01-0BA0 | ET 200SP CM PtP communication module | 8 | 223.9365 | 1791.4922
Electrical Distribution & Protection | 5SY4204-7 | UL1077 MCB 2P 4A | 68 | 26.3191 | 1789.7009
Drives & Motion Control | 1FK2102-0AG00-0MA0 | SERVO MOTOR 0.05 kW | 4 | 444.885 | 1779.54
Electrical Distribution & Protection | 6EP1332-4BA00 | SIMATIC PM 1507 24 V/3 A Stabilized power supply for SIMATIC S7-1500 | 12 | 147.8035 | 1773.6417
Electrical Distribution & Protection | 3RT2047-1SB30 | MC | 9 | 195.2239 | 1757.0155
Electrical Distribution & Protection | 3RT2015-1BB41 | MC | 104 | 16.7715 | 1744.2388
Electrical Distribution & Protection | 3RT2037-1KB40 | Contactor 65A | 10 | 174.1516 | 1741.516
Drives & Motion Control | 6SL3120-1TE21-8AD0 | SINGLE MOTOR MODULE 18A | 1 | 1735.0892 | 1735.0892
HMI Equipment | 6AV7674-1MB00-0AA0 | PUSH BUTTEN SWICH (PROFI SAFE) | 78 | 21.8667 | 1705.6051
Electrical Distribution & Protection | 3SU1400-1AA10-1BA0 | Illuminated pushbutton 2 | 262 | 6.3835 | 1672.4866
Drives & Motion Control | 6SL3100-0EE21-6AA0 | SINAMICS LINE REACTOR FOR 16 KW COMBI LINE MODULE | 5 | 332.7809 | 1663.9043
Drives & Motion Control | 6SL3210-1KE14-3UF2 | INVERTER (1.5KW, AC480V) | 5 | 324.8145 | 1624.0725
Electrical Distribution & Protection | 6ES7131-6BF01-0BA0 | ET 200SP DI 8x 24VDC | 45 | 35.9695 | 1618.6265
Electrical Distribution & Protection | 5SJ4210-7HG41 | MCB UL489 2P 10A | 33 | 48.5467 | 1602.042
Electrical Distribution & Protection | 3RH2122-1BB40 | MC | 77 | 20.7366 | 1596.722
Electrical Distribution & Protection | 3RT1055-6SF36 | SIRIUS 3RT POWER CONTACTOR | 5 | 314.6222 | 1573.1108
Electrical Distribution & Protection | 3VA5130-6ED31-0AA0 | Molded Case Circuit Breakers | 9 | 170.164 | 1531.4764
Electrical Distribution & Protection | 3SU1400-1AA10-1CA0 | EMG 1NC | 243 | 6.1198 | 1487.1118
Electrical Distribution & Protection | 3RV2711-0JD10 | UL489 Ciruit breaker 1A N 13A | 22 | 67.5524 | 1486.1536
Electrical Distribution & Protection | 3SU1050-4BF21-0AA0 | KEY SWITCH 2NO+1NC | 40 | 37.0897 | 1483.5861
Drives & Motion Control | 1FK2104-4AF10-1MA0 | SERVO MOTOR | 2 | 736.9357 | 1473.8713
Control & Signal Devices | 52PL4JBXB | US2:52PL4JBXB | 20 | 71.5226 | 1430.453
HMI Equipment | 6AV2102-0AA07-0AH5 | SIMATIC WinCC Advanced V17 DL | 2 | 699.219 | 1398.438
Communication & Fieldbus Cables | 6XV1840-3AH10 | Profinet Cable Non-movable | 200 | 6.787 | 1357.4055
Electrical Distribution & Protection | 6EP1436-2BA10 | SITOP PSU300S/3AC/24 V DC/20 A | 7 | 191.8169 | 1342.7184
Drives & Motion Control | 6SL3120-1TE15-0AD0 | SINGLE MOTOR MODULE 5A | 2 | 666.8493 | 1333.6987
Electrical Distribution & Protection | 3RT2035-1KB40 | MC | 18 | 73.8878 | 1329.981
Electrical Distribution & Protection | 6ES7134-6GD01-0BA1 | Analog Input Module AI 4xI 2-/4-wire ST(4~20mA) | 9 | 144.8218 | 1303.396
Electrical Distribution & Protection | 3SU1051-1HB20-0AA0 / | SWITCH (EMS) | 46 | 28.272 | 1300.512
Electrical Distribution & Protection | 5SY4110-7 | MCB UL1077 1P 10A | 93 | 13.9633 | 1298.5885
Electrical Distribution & Protection | 3RV2901-2E(AUX) | MB AUX | 310 | 4.161 | 1289.91
Electrical Distribution & Protection | 5ST3010-0HG | Auxiliary current switch | 101 | 12.5923 | 1271.8195
Drives & Motion Control | 1FK2106-3AF00-1MA0 | SERVO MOTOR (2.3KW) | 2 | 630.9995 | 1261.999
Electrical Distribution & Protection | 6EP3337-8SB00-0AY0 | SITOP PSU8200 1AC 24VDC 40A | 3 | 415.7595 | 1247.2784
Drives & Motion Control | 1FK2104-4AF00-1MA0 | SERVO MOTOR | 2 | 622.8861 | 1245.7722
Electrical Distribution & Protection | 5SY4201-7 | UL1077 MCB 2P 1A | 46 | 26.3191 | 1210.68
Drives & Motion Control | 1FK2104-6AF00-0MA0 | SERVO MOTOR 0.5 kW | 2 | 601.8535 | 1203.707
Drives & Motion Control | 6SL3210-1PB17-4AL0 | INVERTER | 5 | 239.3525 | 1196.7625
Electrical Distribution & Protection | 3RV2711-4AD10 | MCB UL489 3P 15A | 16 | 74.6371 | 1194.1934
Electrical Distribution & Protection | 6EP1333-2BA20 | POWER SUPPLY | 10 | 119.244 | 1192.44
Drives & Motion Control | 6SL3120-1TE21-8AC0 | SINGLE MOTOR MODULE 18A | 1 | 1182.4722 | 1182.4722
Electrical Distribution & Protection | 3SU1900-0DY30-0AA0 | EMS S/W COVER | 78 | 14.9167 | 1163.503
Electrical Distribution & Protection | 3RV2811-1CD10 | Circuit Breaker | 13 | 86.6084 | 1125.9086
Electrical Distribution & Protection | 3RT2027-1BB40 | MC | 18 | 61.9748 | 1115.547
Electrical Distribution & Protection | 3NW1030-0HG | Fuse | 22 | 50.4574 | 1110.0626
Electrical Distribution & Protection | 3VA9978-0AA12 | Auxiliary switch 1C/O | 74 | 14.9387 | 1105.4622
Motion Control Connectivity | 6FX8002-8QN04-1BD0 | MOVABLE TYPE MOTOR CABLE 13M | 6 | 184.2339 | 1105.4035
Electrical Distribution & Protection | 6ES7134-6FB00-0BA1 | AI 2xU ST | 10 | 106.666 | 1066.66
Electrical Distribution & Protection | 5SJ4106-7HG41 | CP | 46 | 23.0446 | 1060.0513
Electrical Distribution & Protection | 5SY4210-7 | UL1077 MCB 2P 10A | 48 | 21.9326 | 1052.7652
Drives & Motion Control | 6SL3120-2TE15-0AD0 | DOUBLE MOTORO MODULE 5A/5A | 1 | 1047.1141 | 1047.1141
Electrical Distribution & Protection | 3SU1401-1BB40-1AA0 | PBL GREEN | 104 | 9.998 | 1039.794
Electrical Distribution & Protection | 3VA5130-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 30A | 6 | 172.6625 | 1035.975
Electrical Distribution & Protection | 3VA5150-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 50A | 6 | 172.6625 | 1035.975
HMI Equipment | 6AV2181-8XP00-0AX0 | SIMATIC SD memory card 2GB | 21 | 49.129 | 1031.7099
Electrical Distribution & Protection | 5SJ4203-7HG42 | CP | 20 | 50.996 | 1019.92
Electrical Distribution & Protection | 3RF2420-1AC45 | Solid state 3P 20A | 5 | 203.5346 | 1017.673
Electrical Distribution & Protection | 3VA9978-0AA12(AUX ) | MCCB AUX | 74 | 13.699 | 1013.726
Drives & Motion Control | 6SL3210-1PE11-8AL1 | Power Module | 5 | 201.191 | 1005.955
Motion Control Connectivity | 6FX5002-8QN04-1BF0 | S210 DRIVER CABLE 400W, FIXATION 100W 15M | 6 | 166.6878 | 1000.127
HMI Equipment | 6AV7674-1MA00-0AA0 | Emergency Switch | 36 | 27.4483 | 988.14
HMI Equipment | 6AV7674-1ME00-0AA0 | KEY SWICH (PROFI SAFE) | 28 | 35.245 | 986.86
Electrical Distribution & Protection | 3RV2711 AUX 1NO+1NC | CAPACITY GRANDING / NEG-PRESSURIZED | 204 | 4.8252 | 984.3355
Motion Control Connectivity | 6FX5002-2DC40-1CF0 | ENCODER CABLE 25M | 4 | 244.6198 | 978.479
Electrical Distribution & Protection | 6ES7833-1FA17-0YH5 | STEP 7 Safety Advanced V17 SW DL | 2 | 485.4025 | 970.805
Drives & Motion Control | L1M21111300145 | Primary section linear motor | 1 | 965.0348 | 965.0348
Drives & Motion Control | 1FK2104-5AF10-1MB0 | SERVO MOTOR(0.75 KW,480V) | 1 | 958.8827 | 958.8827
Electrical Distribution & Protection | 6ES7522-1BL10-0AA0 | 1500. 32DO | 3 | 318.7539 | 956.2617
Electrical Distribution & Protection | 3SE5232-0HC05-1AB2 | Position switch | 59 | 15.8751 | 936.6335
Motion Control Connectivity | 6FX5002-8QN08-1BF0 | S210 DRIVER CABLE 750W FIXATION 15M | 5 | 184.2339 | 921.1696
Electrical Distribution & Protection | 3SU1051-0AB40-0AA0 | PBL GREEN | 96 | 9.5868 | 920.3336
Electrical Distribution & Protection | 3VA AUX 1NO+1NC | CAPACITY GRANDING / NEG-PRESSURIZED | 45 | 20.3471 | 915.6183
Electrical Distribution & Protection | 3RV2742 AUX 1NO+1NC | Conveyor | 171 | 5.3273 | 910.9641
Drives & Motion Control | 1FK7060-2AC71-1QG0 | SERVO MOTOR(1.11 KW) | 1 | 909.0793 | 909.0793
Motion Control Connectivity | 6FX5002-8QN04-1BD0 | MOVABLE TYPE MOTOR CABLE 13M | 6 | 149.1417 | 894.8504
Electrical Distribution & Protection | 5ST3010-0HG(AUX) | CB AUX | 98 | 9.1105 | 892.829
Electrical Distribution & Protection | 6EP3436-8SB00-0AY0 | SITOP PSU8200/3AC/24VDC20A | 4 | 221.7825 | 887.1302
Drives & Motion Control | 6SL3054-0FC00-1BA0 | APPEARANCE INSPECTION | 13 | 67.7126 | 880.2634
Electrical Distribution & Protection | 3RT2038-1KB40 | Contactor | 6 | 145.8931 | 875.3585
Drives & Motion Control | 6SL3210-1KE18-8AF1 | SINAMICS G120C PROFINET IP20 FSA A 3AC 380-480V 4.00kW | 1 | 870.8572 | 870.8572
Motion Control Connectivity | 6FX5002-5DN27-1CF0 | POWER CABLE 25M | 3 | 289.9303 | 869.791
Electrical Distribution & Protection | 5SY4206-7 | UL1077 MCB 2P 6A | 33 | 26.3191 | 868.5313
Electrical Distribution & Protection | 3VA5195-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 15A | 5 | 172.6625 | 863.3125
Electrical Distribution & Protection | 3RV2711-1BD10 | MCCB UL489 3P | 13 | 66.4054 | 863.2708
Electrical Distribution & Protection | 3NW1020-0HG | FUSE | 25 | 34.2118 | 855.2945
Motion Control Connectivity | 6FX5002-5DS26-1AJ0 | CC CONNECTOR FULL THREAD SIZE 1.5 FOR SINAMICS S120 | 4 | 211.5443 | 846.1774
Electrical Distribution & Protection | 6ES7134-6HD01-0BA1 | Analog Input Module AI 4xU/I 2-wire ST(0~10V) | 6 | 140.9981 | 845.9886
Electrical Distribution & Protection | 3VA51 Terminal cover | CAPACITY GRANDING / NEG-PRESSURIZED | 64 | 13.1596 | 842.2122
Electrical Distribution & Protection | 3RV2901-1A (AUX) | auxiliary contact | 196 | 4.294 | 841.624
Drives & Motion Control | 1FK2103-4AG00-1MA0 | SERVO MOTOR (0.4KW) | 2 | 419.2825 | 838.565
Drives & Motion Control | 6SL3000-0CE25-5AA0 | LINE REACTOR 55KW | 1 | 813.583 | 813.583
Motion Control Connectivity | 6FX5002-5DS26-1AG0 | CABLE CONNECTOR FULL THREAD SIZE 1 FOR SINAMIC | 4 | 203.0191 | 812.0765
Electrical Distribution & Protection | 3SU1051-0AB20-0AA0 | Illuminated pushbutton | 80 | 10.1458 | 811.6602
Electrical Distribution & Protection | 6ES7823-0BE00-1DA0 | OPC UA S7-1500 Large DL | 4 | 201.8275 | 807.31
Electrical Distribution & Protection | 3VA5110-6ED31-0AA0 | MCCB | 4 | 201.7586 | 807.0345
Electrical Distribution & Protection | 3RB3016-1SB0 | Overload Relay | 10 | 80.1965 | 801.9652
Motion Control Connectivity | 6FX8002-5DS06-1CA0 | POWER CABLE 20M | 2 | 394.5079 | 789.0158
Electrical Distribution & Protection | 6ES7590-1AE80-0AA0 | BASE RAIL UNIT Length 482.6mm(19") | 39 | 19.9723 | 778.9188
Electrical Distribution & Protection | 5SJ4103-7HG41 | MCB01-03, UL489 1P 3A | 27 | 28.847 | 778.8678
Electrical Distribution & Protection | 3VA5111-6ED31-0AA0 | MCCB UL489 3P | 3 | 257.564 | 772.692
Electrical Distribution & Protection | BWG600014TS-190 | DBR 0.5KW | 4 | 193.1535 | 772.6141
Electrical Distribution & Protection | 3RT2016-1BB41 | Contactor 9A | 50 | 15.4516 | 772.578
Electrical Distribution & Protection | 3RQ3118-2AB00 | COUPLING RELAY | 76 | 10.0605 | 764.598
Electrical Distribution & Protection | 3UG4625-1CW30 | Monitoring realy | 6 | 126.3318 | 757.991
Motion Control Connectivity | 6FX8002-8QN11-1BF0 | Siemens Cable | 3 | 252.361 | 757.083
Electrical Distribution & Protection | 3VA5160-6ED31-0AA0 | Molded Case Circuit Breakers | 4 | 182.9795 | 731.918
Electrical Distribution & Protection | 3SU1900-0BB31-0DA0 | EMG NAME PLATE | 64 | 11.405 | 729.9172
Electrical Distribution & Protection | 3SU1051-0AB60-0AA0 | Illuminated pushbutton | 88 | 8.2774 | 728.4126
Electrical Distribution & Protection | 3RV2811-1DD10 | UL489 circuit breaker 3.2A | 10 | 72.8163 | 728.1626
Electrical Distribution & Protection | 3RT1064-6SF36 | Contactor | 2 | 362.501 | 725.002
Electrical Distribution & Protection | 6ES7532-5HD00-0AB0 | S7-1500, AQ 4xU/I ST | 2 | 353.5537 | 707.1073
Electrical Distribution & Protection | 3SU1400-1AA10-1CA0(2) | Contact module with 1 contact element | 96 | 7.3357 | 704.2226
Electrical Distribution & Protection | 3RV2901-2E (AUX) | Auxiliary switch. 1NO+1NC | 164 | 4.294 | 704.216
Motion Control Connectivity | 6FX8002-8QN04-1BF0, Movable 15M | SERVO CABLE | 4 | 176.0445 | 704.178
HMI Equipment | 6AV2181-5AF02-0AX0 | Connecting Cable 2 M KTP Mobile | 9 | 78.0801 | 702.7208
Electrical Distribution & Protection | 3SU1401-1BB60-1AA0 | Illuminated pushbutton | 81 | 8.6622 | 701.6415
Electrical Distribution & Protection | 3VA5217-6ED31-0AA0 | Circuit Breaker | 1 | 701.0504 | 701.0504
HMI Equipment | 6AV2125-2AE03-0AX0 | SIMATIC HMI connection box compact for Mobile Panels | 5 | 140.1704 | 700.8522
Motion Control Connectivity | 6FX8002-2DC10-1CA0 | Signal cable; DRIVE-CLiQ cable MOTION CONNECT 800PLUS (trailing-type), [RJ45 IP20] / [RJ45 IP67]; 20.00 m | 3 | 231.1413 | 693.4239
Electrical Distribution & Protection | 3VA5160-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 60A | 4 | 172.6625 | 690.65
Motion Control Connectivity | 6FX8002-2DC10-1BF0 | Signal cable, pre-assembled type | 4 | 172.2887 | 689.1548
Electrical Distribution & Protection | 3VA5195-4ED31-0AA0 | MCCB UL489 3P 15A | 5 | 137.7368 | 688.6839
Electrical Distribution & Protection | 3RV2711-1BD10 | MB | 12 | 56.4585 | 677.502
Electrical Distribution & Protection | 3SU1400-1AA10-1FA0 | CONTACT BLOCK 1NO+1NC | 70 | 9.6503 | 675.5243
Networking & Communication | 6GK1901-1BB12-2AB0 | IE FC RJ45 Plug 180 4X2 (10 piece) | 4 | 166.6878 | 666.7513
Electrical Distribution & Protection | 3RV2742-5AD10 | MMS | 6 | 109.5851 | 657.5104
Motion Control Connectivity | 6FX5002-2DC10-1AJ0 | Signal cable pre-assembled | 6 | 108.7461 | 652.4765
Electrical Distribution & Protection | 6ES7592-1BM00-0XB0 | Frontconnector Push-in (35mm Mod.) | 28 | 23.256 | 651.168
Electrical Distribution & Protection | 6ES7521-1BL00-0AB0 | S7-1500, DI 32x24VDC HF | 3 | 216.6942 | 650.0825
Electrical Distribution & Protection | 3SU1400-1AA10-1BA0(2) | Contact module with 1 contact element | 86 | 7.3357 | 630.8661
Drives & Motion Control | 1FK2104-4AF00-0MA0 | TRAY INSPECTION | 1 | 614.113 | 614.113
HMI Equipment | 6AV2181-5AF05-0AX0 | Connection cable PN for KTPX00(F) Mobile (PROFINET) length: 5 m, | 4 | 152.3635 | 609.4539
Electrical Distribution & Protection | 3VA5220-6ED31-0AA0 | Molded Case Circuit Breakers | 1 | 604.4565 | 604.4565
Electrical Distribution & Protection | 3RH2911-1HA22 | MC AUX | 90 | 6.6044 | 594.396
Motion Control Connectivity | 6FX8002-5DS06-1BF0 | Power cable pre-assembled TYPE 6FX8002-5DS06 4X1,5 | 2 | 296.5983 | 593.1965
Electrical Distribution & Protection | 5SY4213-7 | UL1077 MCB 2P 13A | 27 | 21.9326 | 592.1804
Motion Control Connectivity | 6FX8002-8QN11-1BA0 | Siemens Cable | 3 | 195.1245 | 585.3734
Electrical Distribution & Protection | 3SU1052-2BF10-0AA0 | Selector switch 1NC | 36 | 16.0459 | 577.6529
Electrical Distribution & Protection | 6ES7590-1AC40-0AA0 | S7-1500, mounting rail 245 mm (9.6") | 21 | 27.4839 | 577.1622
Motion Control Connectivity | 6FX8002-5CR42-1BG0 | POWER CABLE 16M | 1 | 571.2574 | 571.2574
Electrical Distribution & Protection | 3RV2742-5DD10 | MCCB UL489 3P | 4 | 141.1795 | 564.718
HMI Equipment | 6AV2101-0AA07-0AH5 | SIMATIC WinCC Comfort V17 DL | 2 | 279.243 | 558.486
Electrical Distribution & Protection | 3RV2742-5GD10+3RV2901-1A | Auxiliary switch can be mounted on the side 1 NO+1 NC | 3 | 186.0195 | 558.0585
Electrical Distribution & Protection | 5SJ4216-7HG41 | CP | 12 | 46.0061 | 552.0735
Electrical Distribution & Protection | 3VA5120-4ED31-0AA0 | MCCB UL489 3P 20A | 4 | 137.7368 | 550.9471
Electrical Distribution & Protection | 3VA5125-4ED31-0AA0 | MCCB UL489 3P 25A | 4 | 137.7368 | 550.9471
Control & Signal Devices | LZS:RT3D4L24 | Interface Relay | 31 | 17.6452 | 547.0017
Electrical Distribution & Protection | 3VA5225-6ED31-0AA0 | MCCB UL489 3P 250A | 1 | 537.681 | 537.681
Electrical Distribution & Protection | 3VA5215-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 150A | 1 | 531.3445 | 531.3445
Electrical Distribution & Protection | 5ST2505 | DTB | 36 | 14.7175 | 529.8312
Electrical Distribution & Protection | 3UL2302-1A | residual current | 6 | 87.7304 | 526.3826
Electrical Distribution & Protection | 3RV2811-0JD10 | UL489 Ciruit breaker 1A N 21A | 7 | 72.8163 | 509.7138
Electrical Distribution & Protection | 3RT2045-1KB40 | Contactor | 4 | 125.3525 | 501.41
Electrical Distribution & Protection | 6EP1433-2BA20 | SITOP PSU300S/3AC/24VDC/5A | 4 | 124.2505 | 497.002
Electrical Distribution & Protection | 3NW7531-5HG | TRAY INSPECTION | 2 | 245.6452 | 491.2904
Electrical Distribution & Protection | 3VA5220-5ED31-0AA0 | MCCB UL489 3P 200A | 1 | 486.9039 | 486.9039
Electrical Distribution & Protection | 5SY4216-7 | UL1077 MCB 2P 16A | 22 | 21.9326 | 482.5174
Electrical Distribution & Protection | 6EP3436-8SB00-2AY0 | SMPS_THREE480VAC_24VDC 20A | 1 | 482.5174 | 482.5174
Electrical Distribution & Protection | 3RV2811-1JD10 | MCCB03, UL489 3P 10A | 6 | 79.8347 | 479.0082
HMI Equipment | 6AV7674-1MG00-0AA0 | Push Button Switch | 20 | 23.845 | 476.9
Electrical Distribution & Protection | 3SU1401-1BB50-1AA0 | Conveyor | 44 | 10.821 | 476.1235
Motion Control Connectivity | 6FX5002-2DC40-1CD0 | ENCODER CABLE 23M | 2 | 232.5752 | 465.1504
Motion Control Connectivity | 6FX5002-5CN27-1CD0 | POWER CABLE 23M | 2 | 230.4722 | 460.9443
Control & Signal Devices | LZS:PT5D5L24 | RELAY | 43 | 10.6734 | 458.9545
Electrical Distribution & Protection | 3VA5112-6EC31-0AA0 | Circuit Breaker (125A, 65kA) | 1 | 458.8413 | 458.8413
Electrical Distribution & Protection | 3RV2711-1KD10 | Circuit breaker | 6 | 76.3135 | 457.881
Motion Control Connectivity | 6FX5002-5CS06-1CD0 | POWER CABLE 23M | 2 | 228.0824 | 456.1647
Electrical Distribution & Protection | 3VA9233-0QA00 | nut keeper kit 3 units accessory for: 3VA5 250 | 32 | 14.2423 | 455.753
Electrical Distribution & Protection | 3SU1900-0BC31-0DA0 | Washer for emg stop,yellow | 55 | 8.2813 | 455.4697
Motion Control Connectivity | 6FX5002-5CN27-1CB0 | POWER CABLE 21M | 2 | 224.2587 | 448.5174
Electrical Distribution & Protection | 3RV2811-1BD10 | Circuit breaker | 6 | 74.5845 | 447.507
Electrical Distribution & Protection | 6EP3336-7SB00-3AX0 | SMPS | 2 | 220.7469 | 441.4938
Motion Control Connectivity | 6FX5002-2DC40-1CB0 | ENCODER CABLE 21M | 2 | 220.6262 | 441.2524
Electrical Distribution & Protection | 6ES7522-1BH01-0AB0 | 16DO | 3 | 146.875 | 440.6249
Electrical Distribution & Protection | 5SY4102-7 | Circuit Breaker | 33 | 13.3165 | 439.4452
Electrical Distribution & Protection | 5SY4220-7 | UL1077 MCB 2P 20A | 20 | 21.9326 | 438.6522
Electrical Distribution & Protection | 3SU1401-1BB30-1AA0 | LED MODULE DC24V YELLOW | 41 | 10.6449 | 436.4416
Electrical Distribution & Protection | 3VA9271-0WD30 | MCCB 250 Flange | 38 | 11.4592 | 435.4494
Electrical Distribution & Protection | 6ES7531-7QD00-0AB0 | S7-1500, AI 4xU/I/RTD/TC ST | 2 | 217.5715 | 435.143
Electrical Distribution & Protection | 3SU1051-0AB30-0AA0 | PBL HEAD YELLOW | 43 | 10.0472 | 432.0303
Motion Control Connectivity | 6FX8002-5DS16-1CA0 | POWER CABLE 20M | 1 | 429.9725 | 429.9725
Motion Control Connectivity | 6FX5002-5CN27-1BJ0 | POWER CABLE 18M | 2 | 214.7951 | 429.5902
Motion Control Connectivity | 6FX5002-2DC10-1CD0 | ENCODER CABLE 23M | 2 | 213.0744 | 426.1488
Electrical Distribution & Protection | 3RV2901-1A(AUX) | MB AUX | 100 | 4.161 | 416.1
Electrical Distribution & Protection | 3SU1400-1AA10-1BA0(3) | PBL | 56 | 7.3357 | 410.7965
Electrical Distribution & Protection | 3RV2711-4AD10 | MB | 6 | 68.3335 | 410.001
Motion Control Connectivity | 6FX8002-5DS27-1CD0 | POWER CABLE 23M | 1 | 407.7952 | 407.7952
Motion Control Connectivity | 6FX5002-2DC40-1BJ0 | ENCODER CABLE 18M | 2 | 202.5593 | 405.1186
Motion Control Connectivity | 6FX5002-2DC10-1AG0 | Signal cable pre-assembled | 5 | 79.7009 | 398.5043
Drives & Motion Control | GXK:BWG600014TS-190 | SINAMICS S210 Brake Res 3AC240V FSC | 2 | 195.6389 | 391.2777
Electrical Distribution & Protection | 6ES7547-1JF00-0AB0 | CM 8xIO-Link | 1 | 388.6722 | 388.6722
Electrical Distribution & Protection | 3NW1020-0HG (2PC.) | FUSE | 11 | 35.2925 | 388.2175
Drives & Motion Control | 6SL3055-0AA00-4BA0 | APPEARANCE INSPECTION | 13 | 28.9774 | 376.7056
Electrical Distribution & Protection | 5SY4108-7 | Circuit Breaker | 25 | 14.9687 | 374.2174
Electrical Distribution & Protection | 3NW1010-0HG | CC FUSE | 10 | 36.5276 | 365.2758
Drives & Motion Control | 6SL3210-1PB13- 0AL0 | AMP | 2 | 180.386 | 360.772
Electrical Distribution & Protection | 6ES7155-5AA01-0AB0 | IM 155-5 PN ST | 1 | 359.6948 | 359.6948
Motion Control Connectivity | 6FX2002-1DC00-1AB0 | SIMATIC S7-1500F, CPU 1515F-2 PN | 5 | 71.3739 | 356.8696
Electrical Distribution & Protection | 3RT1056-6SF36 | SIRIUS 3RT POWER CONTACTOR | 1 | 354.692 | 354.692
Motion Control Connectivity | 6FX5002-2DC10-1BG0 16m | ENCODER CABLE 16M | 2 | 173.6905 | 347.3811
Electrical Distribution & Protection | 3VA5120-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 20A | 2 | 172.6625 | 345.325
Electrical Distribution & Protection | 3RV2811-1FD10 | MCCB | 5 | 68.8894 | 344.4472
Current Transformer | 855-305/100-201 | Current Transformer - CT 50:5 | 9 | 38.1615 | 343.4535
Electrical Distribution & Protection | 5SY4203-7 | UL1077 MCB 2P 3A | 13 | 26.3191 | 342.1487
Electrical Distribution & Protection | 5SJ4104-7HG40 | Miniature circuit breaker | 18 | 18.9547 | 341.1855
Electrical Distribution & Protection | 3SU1051-0AB50-0AA0 | Conveyor | 32 | 10.6299 | 340.1562
Electrical Distribution & Protection | 6ES7590-0BL00-0AA0 | active busmodule | 1 | 338.2158 | 338.2158
Electrical Distribution & Protection | 5ST2504 | Distribution block 1-pole, 80 A, 690V Input: 1x 16 mm2 Output: 8x 10 mm2 for installation on standard mounting rail | 33 | 10.2104 | 336.9443
Electrical Distribution & Protection | 3VA5135-6ED31-0AA0 | MCCB UL489 3P 35A (65kA) | 2 | 168.4424 | 336.8849
Electrical Distribution & Protection | 3SU1900-0BC31-0NB0 | EMG 1NC | 50 | 6.6785 | 333.925
Drives & Motion Control | 6SL3060-4AP00-0AA0 | DRIVE CLIQ CABLE 0.41m | 15 | 21.6494 | 324.7413
Electrical Distribution & Protection | 6EP3333-7SB00-0AX0 | SMPS | 3 | 107.2199 | 321.6598
Electrical Distribution & Protection | 5SJ4102-7HG41 | MCB01-03, 06 UL489 1P 2A | 11 | 28.847 | 317.3165
Electrical Distribution & Protection | 3RT1956-4G | MC Cover | 18 | 17.347 | 312.246
Electrical Distribution & Protection | 3RV2901-1A | Auxiliary switch 1NO+1NC | 71 | 4.233 | 300.5404
Electrical Distribution & Protection | 3RV2742-5CD10 | MCCB UL489 3P 20A | 2 | 149.7675 | 299.535
Electrical Distribution & Protection | 3VA5125-6ED21-0AA0 | MCCB | 2 | 145.8506 | 291.7012
Motion Control Connectivity | 6FX8002-5DS06-1BE0 | Power cable pre-assembled TYPE 6FX8002-5DS06 4X1 | 1 | 286.8835 | 286.8835
Motion Control Connectivity | 6FX8002-2DC40-1CD0 | ENCODER CABLE 23M | 1 | 285.9155 | 285.9155
Electrical Distribution & Protection | 3RT2023-1BB40 | MC | 10 | 28.5323 | 285.323
Electrical Distribution & Protection | 3SU1051-0AB40-0AA0 + 3SU1550-0AA10-0AA0 + 3SU1401-1BB40-1AA0 + 3SU1400-1AA10-1BA0 | PBL GREEN 24V 1NO | 11 | 25.7545 | 283.2995
Electrical Distribution & Protection | 3SU1051-0AB60-0AA0 + 3SU1550-0AA10-0AA0 + 3SU1401-1BB60-1AA0 + 3SU1400-1AA10-1CA0 | PBL WRITE 24V1NO | 11 | 25.7545 | 283.2995
Electrical Distribution & Protection | 3RT2025-1BB40 | Contactor | 7 | 39.9397 | 279.5776
Motion Control Connectivity | 6FX8002-8QN11-1AF0 | Siemens Cable | 2 | 138.7552 | 277.5104
Drives & Motion Control | 6SL3000-0BE25-5DA0 | LINE FILTER 55KW | 1 | 277.3122 | 277.3122
Electrical Distribution & Protection | 6ES7521-1BH00-0AB0 | 16DI | 2 | 137.7368 | 275.4736
Electrical Distribution & Protection | 3VA5130-4ED31-0AA0 | MCCB UL489 3P 30A | 2 | 137.7368 | 275.4736
Electrical Distribution & Protection | 3VA5140-4ED31-0AA0 | MCCB UL489 3P 40A | 2 | 137.7368 | 275.4736
Electrical Distribution & Protection | 3RV2711-1AD10 | Circuit breaker | 4 | 68.514 | 274.056
Electrical Distribution & Protection | 3NW7531-6HG | APPEARANCE INSPECTION | 1 | 271.9643 | 271.9643
Electrical Distribution & Protection | 3VA5111-6ED31-0AA0+3VA9978-0AA12 | UL489 3P 110A | 1 | 271.871 | 271.871
Electrical Distribution & Protection | 3RV2742-5CD10+3RV2901-1A | Circuit breaker size S3 for system protection with approval circuit | 2 | 135.4605 | 270.921
Electrical Distribution & Protection | 3RV2711-1GD10+3RV2901-2E | MCCB UL489 3P 6.3A | 4 | 66.7755 | 267.102
Electrical Distribution & Protection | 3RV2821-4BD10 | UL489 circuit breaker 20A | 3 | 87.7304 | 263.1913
Drives & Motion Control | 6SL3210-1PE14-3UL1 | Power unit; PM240-2 | 1 | 263.1913 | 263.1913
Electrical Distribution & Protection | 3SU1050-4BL31-0AA0 | Key-operated Switch | 6 | 43.32 | 259.92
Electrical Distribution & Protection | 3SU1401-1BF40-1AA0 | LED MODULE AC230V GREEN | 16 | 16.2301 | 259.6821
Electrical Distribution & Protection | 3VA9978-0AA12 | TRAY INSPECTION | 15 | 17.1367 | 257.0502
Electrical Distribution & Protection | 5SY4101-7 | Circuit Breaker | 20 | 12.7878 | 255.7565
Communication & Fieldbus Cables | 6XV1830-0EH10 | PROFIBUS FC Standard Cable GP, buscable 2-wire, shielded special configuration | 220 | 1.1586 | 254.8841
Electrical Distribution & Protection | 5SJ4140-7HG41 | CP | 10 | 24.719 | 247.19
HMI Equipment | 6AV7674-1LB20-0AA0 | Label Holder | 15 | 16.0263 | 240.3948
Electrical Distribution & Protection | 5SY4106-7 | MCB UL1077 1P 6A | 29 | 8.2358 | 238.8395
Electrical Distribution & Protection | 6EP3324-7SB00-3AX0 | SMPS_SINGLE220VAC_12VDC 12A | 1 | 236.8722 | 236.8722
Motion Control Connectivity | 6FX5002-5CN27-1CF0 | POWER CABLE 25M | 1 | 236.7812 | 236.7812
Electrical Distribution & Protection | 3VA9137-0FK31 | MCCB HANDLE | 4 | 57.3344 | 229.3376
Current Transformer | 855-305/050-103 | Current Transformer - CT 50:5 | 6 | 38.1615 | 228.969
Current Transformer | 855-305/060-101 | Current Transformer - CT 50:5 | 6 | 38.1615 | 228.969
Current Transformer | 855-305/200-501 | Current Transformer - CT 50:5 | 6 | 38.1615 | 228.969
Electrical Distribution & Protection | 3RF2430-1AC45 | Solid state 3P 30A | 1 | 228.0991 | 228.0991
Electrical Distribution & Protection | 6EP1334-3BA10 | SMPS_SINGLE480VAC_24VDC 10A | 1 | 228.0991 | 228.0991
Motion Control Connectivity | 6FX5002-5CN27-1CC0 | POWER CABLE 22M | 1 | 227.3176 | 227.3176
Motion Control Connectivity | 6FX5002-2DC40-1CC0 | ENCODER CABLE 22M | 1 | 226.5529 | 226.5529
Electrical Distribution & Protection | 3SU1050-4BF01-0AA0 | KEY SWITCH HEAD | 5 | 44.807 | 224.0348
Electrical Distribution & Protection | 3RT1054-6SF36 | Contactor | 1 | 220.362 | 220.362
Electrical Distribution & Protection | 3VA5110-6ED31-0AA0+3VA9978-0AA12 | Auxiliary switch changeover contacts Type HQ (7 mm) | 1 | 219.4025 | 219.4025
Drives & Motion Control | 6SL3055-0AA00-3KA0 | TM120 | 1 | 219.3261 | 219.3261
Electrical Distribution & Protection | 5SY4103-7 | CP | 23 | 9.1574 | 210.6212
Electrical Distribution & Protection | 3RV2742-5GD10 | MCCB UL489 3P 40A | 1 | 207.005 | 207.005
Motion Control Connectivity | 6FX5002-5CS06-1BG0 | POWER CABLE 16M | 1 | 206.1918 | 206.1918
Electrical Distribution & Protection | 5SJ4120-7HG41 | CP | 12 | 16.91 | 202.92
Electrical Distribution & Protection | 3NW7531-3HG | APPEARANCE INSPECTION | 1 | 201.78 | 201.78
Networking & Communication | 6GK1901-0DB20-6AA0 | APPEARANCE INSPECTION | 5 | 40.356 | 201.78
Electrical Distribution & Protection | 3RV2711-1GD10 | MCCB UL489 3P 6.3A | 3 | 66.7844 | 200.3533
Drives & Motion Control | 6SL3210-1PB13-8UL0 | TRAY INSPECTION | 1 | 193.007 | 193.007
Electrical Distribution & Protection | 3VA5170-6ED31-0AA0+3VA9978-0AA12 | Auxiliary switch changeover contacts Type HQ (7 mm) | 1 | 190.7885 | 190.7885
Electrical Distribution & Protection | 3VA5180-6ED31-0AA0+3VA9978-0AA12 | Auxiliary switch changeover contacts Type HQ (7 mm) | 1 | 190.7885 | 190.7885
Electrical Distribution & Protection | 3VA9131-0WD20 | Cover | 25 | 7.6285 | 190.7125
Control & Signal Devices | LZS_PT5D5L24 | Plug-in relay | 17 | 11.0546 | 187.929
Electrical Distribution & Protection | 3VA5170-6ED31-0AA0 | UL489 3P 70A | 1 | 186.0195 | 186.0195
PLC Equipment | 6DL1193-6MD00-0AA0 | APPEARANCE INSPECTION | 2 | 92.117 | 184.2339
Electrical Distribution & Protection | 5SY4202-7 | UL1077 MCB 2P 2A | 7 | 26.3191 | 184.2339
Electrical Distribution & Protection | 3RV2811-1ED10 | MCCB | 3 | 60.7054 | 182.1162
Electrical Distribution & Protection | 3RV2742-5JD10 | MCCB UL489 3P | 1 | 181.2505 | 181.2505
Electrical Distribution & Protection | 3RV2742-5LD10 | MCCB UL489 3P | 1 | 181.2505 | 181.2505
Electrical Distribution & Protection | 3RU2146-4KB1 | Contactor | 3 | 59.9165 | 179.7495
Electrical Distribution & Protection | 5SY4132-7 | CP | 19 | 9.4525 | 179.5975
Electrical Distribution & Protection | 3RT2026-1BB40 | Contactor | 4 | 44.84 | 179.36
Electrical Distribution & Protection | 3VA5110-4ED31-0AA0 | MCCB UL489 3P 100A | 1 | 178.0928 | 178.0928
Drives & Motion Control | 6SL3060-4AJ20-0AA0 | DRIVE CLIQ CABLE 2.8m | 5 | 35.5602 | 177.801
Electrical Distribution & Protection | 6ES7505-0KA00-0AB0 | SYSTEM POWER SUPPLY | 1 | 175.4609 | 175.4609
Electrical Distribution & Protection | 3RT2017-1BB44-3MA0 | SIRIUS 3RT POWER CONTACTOR | 6 | 28.614 | 171.684
Electrical Distribution & Protection | 3VA5145-6ED31-0AA0 | MCCB UL489 3P 45A | 1 | 168.4424 | 168.4424
Electrical Distribution & Protection | 3SU1550-0AA10-0AA0 1 | SWITCH (EMS) | 46 | 3.6385 | 167.371
Motion Control Connectivity | 6FX8002-8QN04-1BB0 | MOVABLE TYPE MOTOR CABLE 11M | 1 | 166.6878 | 166.6878
Electrical Distribution & Protection | 6EP1322-2BA00 | SITOP PSU100S 1AC 12VDC 7A | 1 | 166.1388 | 166.1388
Electrical Distribution & Protection | 3VA9131-0WF30 | MCCB Terminal cover 3P | 14 | 11.8215 | 165.5015
Electrical Distribution & Protection | 6ES5710-8MA21 | Stand.sectional Rail 35mm, Length 530mm | 6 | 27.1964 | 163.1786
Electrical Distribution & Protection | 6EP3334-7SB00-3AX0 | SMPS | 1 | 161.6183 | 161.6183
RFID Equipment | 6GT2891-0UE50 | OPTION USB Connection CABLE (0.5M) | 12 | 12.9295 | 155.154
Electrical Distribution & Protection | 6ES7590-1AB60-0AA0 | S7-1500, mounting rail 160 mm (6.3") | 11 | 14.0369 | 154.4056
Drives & Motion Control | 6SL3210-1PB13-0UL0 | INVERTER | 1 | 153.7344 | 153.7344
Electrical Distribution & Protection | 3VA5170-4ED31-0AA0 | MCCB UL489 3P 70A (25kA) | 1 | 153.5283 | 153.5283
Electrical Distribution & Protection | 3RV2742-5ED10+3RV2901-1A | Circuit breaker size S3 for system protection with approval circuit breaker | 1 | 152.627 | 152.627
Electrical Distribution & Protection | 3VA9478-0DK72 | Flange handle. 3VA53 | 1 | 151.373 | 151.373
Electrical Distribution & Protection | 5SJ4210-7HG41 | CP 2P 10A | 3 | 50.4564 | 151.3693
Motion Control Connectivity | 6FX5002-8QN08-1BA0 | S210 DRIVER CABLE 750W FIXATION 10M | 1 | 149.1417 | 149.1417
Electrical Distribution & Protection | 3VA5135-6ED31-0AA0 | MCCB | 1 | 145.8506 | 145.8506
Electrical Distribution & Protection | 3VA5140-6ED31-0AA0 | MCCB | 1 | 145.8506 | 145.8506
Electrical Distribution & Protection | 3VA5180-6ED31-0AA0 | MCCB | 1 | 145.8506 | 145.8506
Networking & Communication | 6GK1901-1BB20-2AB0 | Profinet Connector RJ45 | 1 | 144.2739 | 144.2739
Electrical Distribution & Protection | 3RV2711-1JD10+3RV2901-2E | MCCB UL489 3P 10A | 2 | 72.0195 | 144.039
Electrical Distribution & Protection | 5SY4125-7 | CP | 18 | 7.9531 | 143.1555
Electrical Distribution & Protection | 6XV1870-2E | IE FC TP Standard Cable 4x2 sold by m (20m) | 40 | 3.5092 | 140.3687
Electrical Distribution & Protection | 3VA5135-4ED31-0AA0 | MCCB UL489 3P 35A | 1 | 137.7368 | 137.7368
Electrical Distribution & Protection | 3VA5145-4ED31-0AA0 | MCCB UL489 3P 45A | 1 | 137.7368 | 137.7368
Electrical Distribution & Protection | 3VA5150-4ED31-0AA0 | MCCB UL489 3P 50A | 1 | 137.7368 | 137.7368
Electrical Distribution & Protection | 3VA5160-4ED31-0AA0 | MCCB UL489 3P 60A | 1 | 137.7368 | 137.7368
Electrical Distribution & Protection | 3VA9133-0JD11 | Wire Connector | 2 | 66.6276 | 133.2552
Motion Control Connectivity | 6FX5002-8QN04-1BB0 | MOVABLE TYPE MOTOR CABLE 11M | 1 | 131.5957 | 131.5957
Current Transformer | 855-305/075-201 | Current Transformer - CT 50:5 | 3 | 42.9305 | 128.7915
Electrical Distribution & Protection | 3RV2742-5CD10 | MMS | 1 | 122.9876 | 122.9876
Electrical Distribution & Protection | 3RV2811-1KD10 | TR MCCB UL489 3P 12.5A | 2 | 61.4935 | 122.987
Electrical Distribution & Protection | 3RV2011-0KA10 | UL508 Circuit breaker 0.9-1.25A | 4 | 30.7057 | 122.8226
Drives & Motion Control | 6SL3060-4AF10-0AA0 | DRIVE CLIQ CABLE 1.45M | 5 | 24.4715 | 122.3577
Electrical Distribution & Protection | 5SJ4208-7HG41 | CP | 2 | 59.6567 | 119.3134
Electrical Distribution & Protection | 3SU1102-0AB40-1BA0 (GREEN) | PBL | 5 | 23.674 | 118.37
Electrical Distribution & Protection | 3SU1102-0AB60-1BA0 (WHITE) | PBL | 5 | 23.674 | 118.37
Electrical Distribution & Protection | 5SY4120-7 | Miniature circuit breaker | 13 | 9.0798 | 118.0379
Current Transformer | 855-305/50-103 | Current Transformer - CT 50:5 | 3 | 38.1615 | 114.4845
Electrical Distribution & Protection | 3RU2116-0KB0 | Overload relay 0.90-1.25A | 4 | 26.3191 | 105.2765
Electrical Distribution & Protection | 3RV2721-4CD10 | UL489 Ciruit breaker 22A | 1 | 102.6446 | 102.6446
Electrical Distribution & Protection | 3VA9277-0FK21 | door mounted rotary operator standard IEC IP65 with door interlock accessory for: 3VA52; 3VA61/62 | 1 | 101.2122 | 101.2122
Electrical Distribution & Protection | 3RT1956-4EA2 | MC Cover | 18 | 5.4625 | 98.325
Electrical Distribution & Protection | 3SU1550-0AA10-0AA0(2) | PBL | 19 | 5.1548 | 97.9409
Electrical Distribution & Protection | 3RU2136-4EB0 | Overload relay 22-32A | 2 | 47.3744 | 94.7489
HMI Equipment | 6AV7674-1MG00-0AA0(WHITE) | Push Button Switch | 4 | 22.4735 | 89.8939
Electrical Distribution & Protection | 3VA9131-0WF20 | MCCB Terminal cover 2P | 10 | 8.6722 | 86.722
Electrical Distribution & Protection | 3SU1051-6AA40-0AA0 | PL HEAD GREEN | 15 | 5.7025 | 85.5372
Electrical Distribution & Protection | 3RV2811-0BD10 | MCCB3P(0.2A) | 1 | 84.2212 | 84.2212
Electrical Distribution & Protection | 3RV2811-4AD10 | Circuit breaker | 1 | 84.1225 | 84.1225
Electrical Distribution & Protection | 6ES7590-1AJ30-0AA0 | RAIL 830mm | 2 | 40.356 | 80.712
Electrical Distribution & Protection | 3RT1966-4EA1 | Cover | 7 | 10.4975 | 73.4825
Electrical Distribution & Protection | 3RV2811-1GD10 | UL489 circuit breaker 6.3A | 1 | 72.8163 | 72.8163
Electrical Distribution & Protection | 3RV2811-0KD10 | MCCB | 1 | 71.0617 | 71.0617
HMI Equipment | 6AV7674-1MB00-0AA0(GREEN) | Push Button Switch | 3 | 23.3948 | 70.1843
HMI Equipment | 6AV7674-1MB00-0AA0(RED) | Push Button Switch | 3 | 23.3948 | 70.1843
Electrical Distribution & Protection | 6ES7972-0BB52-0XA0 | SIMATIC DP, Connection plug forPROFIBUS up to 12 Mbit/s 90° cableoutlet, | 2 | 34.9125 | 69.825
Electrical Distribution & Protection | 5SJ4214-7HG41 | MCB2P(0.3A) | 1 | 68.4297 | 68.4297
Electrical Distribution & Protection | 3VA52 Luge | Conveyor | 4 | 16.3293 | 65.317
Electrical Distribution & Protection | 3RV2811-1HD10 | MCCB UL489 3P | 1 | 64.866 | 64.866
Control & Signal Devices | 52PL4JBXB | PL. 480V LED White | 1 | 60.705 | 60.705
Electrical Distribution & Protection | 3VA9233-0QA00 / 250 프레임 | MCCB Terminal lug | 6 | 10.0605 | 60.363
Electrical Distribution & Protection | 3SU1401-1BF60-1AA0 | PL. TERMINAL | 4 | 14.9749 | 59.8996
Electrical Distribution & Protection | 5SJ4201-7HG41 | MCB | 1 | 59.6567 | 59.6567
Electrical Distribution & Protection | 3SU1158-1HB20-1PT0 | EMS S/W | 1 | 57.5519 | 57.5519
Electrical Distribution & Protection | 5SY4104-7(480V/277V5kA1P4A) | Miniature circuit breaker | 5 | 11.2765 | 56.3825
Electrical Distribution & Protection | 3RV2011-0AA10 | UL508 Circuit breaker 0.11-0.16A | 2 | 27.1964 | 54.3929
Electrical Distribution & Protection | 3RU2116-0AB0 | Overload relay 0.11-0.16A | 2 | 26.3191 | 52.6383
Networking & Communication | 6GK1905-6AA00 | PROFIBUS FastConnect stripping tool,Stripping tool for fast stripping of thePROFIBUS | 1 | 51.604 | 51.604
Electrical Distribution & Protection | 3VA9473-0QA00 | MCCB Terminal lug. 3VA53 | 2 | 25.232 | 50.464
Electrical Distribution & Protection | 3RT1956-4EA1 | P128 Termin Cover | 6 | 8.174 | 49.044
Electrical Distribution & Protection | 6ES7972-0BA52-0XA0 | SIMATIC DP, Connection plug forPROFIBUS up to 12 Mbit/s 90° cableoutlet, | 18 | 2.6695 | 48.051
Electrical Distribution & Protection | 3RT2946-4EA2 | MC Cover | 20 | 2.337 | 46.74
Drives & Motion Control | 6ES7590-1AF30-0AA0 | MOUNTING RAIL 530mm | 1 | 40.356 | 40.356
Electrical Distribution & Protection | 3VA9471-0WF30 | MCCB Terminal cover. 3VA53 | 2 | 18.1355 | 36.271
Electrical Distribution & Protection | 3RT2916-1BB00 | Surge suppressor SOO | 8 | 3.9479 | 31.583
Electrical Distribution & Protection | 3RV2011-1DA10 | UL508 Circuit breaker 2.2-3.2A | 1 | 31.583 | 31.583
Electrical Distribution & Protection | 3RV2011-1FA10 | UL508 Circuit breaker 3.5-5A | 1 | 31.583 | 31.583
Electrical Distribution & Protection | 3VA Terminal cover | CAPACITY GRANDING / NEG-PRESSURIZED | 2 | 15.7915 | 31.583
Electrical Distribution & Protection | 3VA9134-0QA00 | MCCB Terminal lug | 2 | 14.9793 | 29.9585
Drives & Motion Control | 6SL3060-4AB20-0AA0 | TM120 CLIQ (2.1m) | 1 | 28.951 | 28.951
Electrical Distribution & Protection | 3RU2116-1DB0 | Overload relay 2.2-3.2A | 1 | 26.3191 | 26.3191
Electrical Distribution & Protection | 3RU2116-1FB0 | Overload relay 3.5-5.0A | 1 | 26.3191 | 26.3191
Electrical Distribution & Protection | 3RT2926-1BB00 | Surge suppressor SO | 6 | 4.3865 | 26.3191
Control & Signal Devices | LZS:PT5A5L24 | Plug-in relay | 2 | 10.0605 | 20.121
Electrical Distribution & Protection | 5SJ4132-7HG40 | Miniature circuit breaker | 1 | 19.076 | 19.076
Electrical Distribution & Protection | 5SY4120-6 | CP 1P 20A | 2 | 8.6722 | 17.3444
Electrical Distribution & Protection | 5SY4110-6 | CP 1P 10A | 2 | 7.8838 | 15.7676
Electrical Distribution & Protection | 5SY4113-7 | CP 1P 13A | 2 | 7.8838 | 15.7676
Electrical Distribution & Protection | 5SY4116-6 | CP 1P 16A | 2 | 7.8838 | 15.7676
Drives & Motion Control | 6SL3162-2AA00-0AA0 | TERMINAL ADAPTER 24V | 1 | 14.6256 | 14.6256
Electrical Distribution & Protection | 5SY4115-7 | Miniature circuit breaker | 1 | 11.2765 | 11.2765
Electrical Distribution & Protection | 3SU1051-0AB30-0AA0 - 22mm, pushbutton | Reset S-W(RST_SW1) | 1 | 7.8838 | 7.8838
Electrical Distribution & Protection | 3SU1401-1BB30-1AA0 - 3SU1 Series LED 2 | Switch LED Module Yellow | 1 | 7.8838 | 7.8838
Electrical Distribution & Protection | 3SU1550-0AA10-0AA0 - 3SU1 Series 3-way | Switch Holder | 1 | 3.1535 | 3.1535